## Objective 1
Rule 21 Questionnaire | [11 empty] | DRAFT; Version 2 June 20, 2019 Naivgant Consulting, Inc. 2019
Topic | Question | Rule 21 Tariff Comparisons | Navigant Interviewer | [IOU] Personnel Interviewed | Yes / No | [IOU] Response | [IOU] Personnel Interviewed | Yes / No | [IOU] Response | [IOU] Personnel Interviewed | Yes / No | [IOU] Response
Utility Timelines | • Describe the Fast Track interconnection process timeline. | • Participation in an expedited interconnection process • Can be accomplished within a year • Often for non-export or some Net Energy Metering generating facilities • Projects up to 3 MW (SCE); 5 MW (PG&E); 2 MW (SDG&E) • Allows an eligible facility to bypass some of the studies if passing a series of screens • Requires Initial Review and sometimes Supplemental Reviews • Often doesn't require significant system upgrades | Name: Sarah Bilbao Email: sarah.bilbao@navigant.com Phone: 916.631.3281 | Name: XX Title: XX Department: XX Email: XX Phone: XX Interview Date: XX Location/Method: XX Time: XX |  | xx | Name: XX Title: XX Department: XX Email: XX Phone: XX Interview Date: XX Location/Method: XX Time: XX |  | xx | Name: XX Title: XX Department: XX Email: XX Phone: XX Interview Date: XX Location/Method: XX Time: XX |  | xx
| • Describe the Detailed Study interconnection process timeline. (Independent and Cluster Studies) | Independent Study • Failing the Fast Track technical reviews • Additional studies required • Independent projects will be subjected to System Impact and Facilities Studies Cluster process: • Phase I and Phase II studies • Review of a group of interconnecting projects • Two windows per year for these requests
| • Which type of interconnection process has historically experienced the most delays? | Independent Study or Cluster Study tracks; generally more complex systems with unfamiliar devices/controllers.
| • Explain the conditions of delays that occurred. | • Interconnecting Customers miss requirement submissions • Material changes occur within the generating facility design • Utility did not engage in effective follow up or inquiry response • Customer requesting to interconnect equipment that do not adhere to the technical requirements (such as UL 1471 SA and IEEE DER interconnection suite) • Applicant selecting the wrong Net Energy Metering (NEM) type
| • What are the most common reasons for missed timeline milestones for the utility? | • Customers miss deadlines or do not understand the application requirement process • Interconnection queue is unmanagable leading to delays in interconnecting • Upgrades or studies require supplemental reviews or group studies
| • Which step(s) within the interconnection process caused the most delays? | Receiving documents appropriately and timely pursuant to the application
• How many interconnection requests experienced a missed utility timeline? Express as (1) an absolute number and (2) a percentage of total interconnection requests submitted over five years.
• Which timeline milestones were most often missed?
• Which milestone timeline were least often missed?
• Which milestone timelines were missed by the largest amount?
• Does the utility provide the device developers, when requested, appropriate and timely information related to the technical requirements?
| • What are the average timeline durations for each interconnection track? | PG&E Average timelines: • Fast Track -- 66 BDs • Supplemental (no mitigations/upgrades) -- 96 BDs • Supplemental (mitigations, but no substation upgrades) -- 291 BDs • Detailed Study (mitigations and/or substation upgrades) -- 336 BDs SCE Average timelines: • Fast Track -- 46 BDs • Supplemental (no mitigations/upgrades) -- 76 BDs • Supplemental (mitigations, but no substation upgrades) -- 276 BDs • Detailed Study (mitigations and/or substation upgrades) -- 321 BDs SDG&E Average timelines: • Fast Track -- XX BDs • Supplemental (no mitigations/upgrades) -- XX BDs • Supplemental (mitigations, but no substation upgrades) -- XX BDs • Detailed Study (mitigations and/or substation upgrades) -- XX BDs
Customer Timelines | • What percentage of interconnection customers provide the utility required information in time for processing the application?
• What percentage of distributed energy resource (DER), controls, or software developers provided the utility required technical information, if needed, in time for processing the interconnecting customer's application?
• As an absolute number and a percentage of total interconnection requests submitted in per year, in how many of the interconnection requests did the customer miss any part of their milestone timeline?
• Which milestones were most often missed?
• Which milestones were least often missed?
• Which timelines were missed by the largest amount?
• Please describe any situations where critical data was requested but was inaccessible by the Interconnecting Customer, thus leading to a process delay.
• What kind of guidance from the utility would expedite the timeline for the Interconnecting Customer to provide related application information?
Cost Accounting | • How is the utility appropriately accounting for capital and O&M expenditures related to system upgrades, including customer-financed capital upgrades?
| • Does the utility require the Interconnecting Customer to pay for grid upgrades that are not necessary at that time but may be required during the span of the GIA to ensure the safe and reliable operation of the grid? | Technical and engineering screens are poised to help identify future distribution/transmission system needs
• Does the utility charge the Interconnecting Customer for grid upgrades that may be necessary or planned irrespective of the project’s interconnection?
• What are the common Interconnecting Customer-responsible upgrades that occur?
• What are the rare Interconnecting Customer-responsible upgrades that occur?
• What are the common Interconnecting Customer-responsible upgrades that may also have been part of an existing distribution plan?
Cost Envelope | • For Interconnecting Customers who elect the cost envelope option, are estimated and actual costs appropriately itemized in documentation provided by the utility to the customer?
• How many interconnection requests that utilize the cost envelope option incur eligible interconnection costs that come in (1) under and (2) over 25% of their cost envelope estimate? Express as (1) an absolute number and (2) a percentage of total interconnection requests electing the cost envelope option that year.
| • What are the main drivers for actual interconnection costs coming in over or under the 25% cost envelope? | 1) upgrades require additional technical screens or testing 2) unanticipated upgrade costs surface 3) material changes with the design or construction of the interconnecting device

## Objective 2
Rule 21 Questionnaire | [11 empty] | DRAFT; Version 2 June 20, 2019 Naivgant Consulting, Inc. 2019
Topic | Question | Rule 21 Tariff Interpretation | Navigant Interviewer | [IOU] Personnel Interviewed | Yes / No | [IOU] Response | [IOU] Personnel Interviewed | Yes / No | [IOU] Response | [IOU] Personnel Interviewed | Yes / No | [IOU] Response
Timelines | • Does the utility provide the Interconnecting Customer with reasonably estimated timeframes for design and construction in the Generator Interconnection Agreement (GIA)? | Utility interconnection handbooks provide average time requirements for design and construction criteria and required response times from the utility. | Name: Sarah Bilbao Email: sarah.bilbao@navigant.com Phone: 916.631.3281 | Name: XX Title: XX Department: XX Email: XX Phone: XX Interview Date: XX Location/Method: XX Time: XX |  | xx | Name: XX Title: XX Department: XX Email: XX Phone: XX Interview Date: XX Location/Method: XX Time: XX |  | xx | Name: XX Title: XX Department: XX Email: XX Phone: XX Interview Date: XX Location/Method: XX Time: XX |  | xx
• Does the utility provide the device developers, when requested, appropriate and timely information related to the technical requirements?
| • Does the utility adhere to construction, commissioning, and other timelines agreed to in the Generator Interconnection Agreement? | Engineering Timeline • Initial Review: 15 BDs • Supplemental Review: 20 BDs • Supplemental Results Meeting: 10 BDs • Electrical Independence Test: 20 BDs • System Impact Study: 60 BDs • SIS Results Meeting: 10 BDs
• How do CA utilities compare to one another, and to utilities in other states, with respect to interconnection timelines?
Utility Costs | • Does the utility itemize bills for grid upgrades, enabling the customer to verify the accuracy or reasonableness of the charges?
• Does the utility require the customer to pay for certain mitigations when other, lower-cost mitigations may be sufficient?
| • How do CA utilities compare to one another, and to utilities in other states, with respect to customer-responsible interconnection costs? | SCE: For NEM 2.0 (starting July 2017): • $75 for projects up to 1MW; • $800 for projects > 1MW
Customer Service and Communication | • What is the average response time for the utility to respond to customer inquiries? What is the distribution of response times (qualitative characterization is permissible)?
• What is the average response time for the utility to response to developer inquires? What is the distribution of response times (qualitative characterization is permissible)?
• Does the utility provide a single point of contact for project-related communications? If so, how are those alignments arranged?
• Does the utility provide timely notice of inspection approval or receipt of funds?
• Does the utility’s online application portal support uploading large documents?
• Does the utility’s application portal provide a way to check project status? If so, for which types of projects?
• Does the utility maintain updated information and forms on its website? How often is that information updated? What triggers an update?
• Are requests for information from the utility to the applicant clearly articulated?
• How do CA utilities compare to one another, and to utilities in other states, with respect to customer service and communication?
Coordination between Departments and Offices | • When an interconnection request is handed off from one office or department to another, how is the transition managed? Is the customer notified?
• Is the customer provided a point of contact at all times during handoffs?
• How do interconnection timelines vary dramatically across different regions within the utility’s service territory?
• How is information shared efficiently and effectively between the utility’s central and field offices?
Recordkeeping | • How does the utility keep records for all interconnections, including information on configurations and equipment installed?
• Do those records transfer properly when the utility customer of record changes? (e.g., a house sells to a new owner)
• Do utility engineers and representatives in the field have access to the necessary records, diagrams, or databases to evaluate interconnection needs or effect solutions efficiently?
• How is the utility using interconnection data to analyze and respond to issues?
Workload Planning | • Is the utility utilizing General Rate Case approved budgets for interconnection department staffing and overheads? If so, what are the approved budgets, and how are they set?
• Does the utility allocate sufficient staff and resources to Rule 21 administration?
• Does the utility take into account expected growth in Rule 21 applications and processing needs when allocating staff and resources or planning for future resource needs?
• Does the utility contract with third parties to assist with dramatic increases in interconnection application submissions? If so, how are these events planned for and funded?
• Generally, how is the utility using interconnection data to do workload planning?

## Objective 2 Specific Data
Quantitative Data Request | [8 empty] | DRAFT; Version 2 June 20, 2019 Naivgant Consulting, Inc. 2019
|  | Fast Track |  |  | Detailed Study
Topic | Value Request | Response | Mean | Distribution | Response | Mean | Distribution | Navigant Interviewer | [IOU] Personnel Responded
Timelines | For each category of project, provide the mean and distribution of the following values over the past five years: | [6 empty] | Name: Sarah Bilbao Email: sarah.bilbao@navigant.com Phone: 916.631.3281 | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • Total time (Business Days) required to interconnect (application deemed complete / Permission to Operate) | Explanation, if applicable, or non-numeric answer | xx | xx | Explanation, if applicable, or non-numeric answer | xx | xx |  | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • Time required for study phase | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • Time required for design phase | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • Time required for construction phase | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
Utility and Customer Costs (Estimated Costs Identified in Studies) | For each category of project, provide the mean and distribution of the following values over the past five years: | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • Total | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Not Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Distribution Upgrades required | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Transmission Upgrades required | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • System Impact Study or Phase I Study? (Choose) | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Total performed | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Not Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Distribution Upgrades required during this step | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Transmission Upgrades required during this step | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • Interconnection Facilities Study or Phase II Study? | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Total performed | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Not Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Distribution Upgrades required during this step | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Transmission Upgrades required during this step | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • Final Negotiated Cost Responsibility in GIA | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Total | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Not Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Distribution Upgrades | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Transmission Upgrades | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
Utility and Customer Costs (Actual Project Costs) | For each category of project, provide the mean and distribution of the following values over the past five years: | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • Paid by Applicant | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Total | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Pre-Application Report Fee | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Request Fee | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Cost Envelope Fee | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Supplemental Review Fee | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Detailed Study Cost | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Not Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Distribution Upgrades | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Transmission Upgrades | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Did Applicant Pay Income Tax Component of Contribution? If so, what rate? | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| • Paid by Utility | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Total | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Pre-Application Report Fee | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Request Fee | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Cost Envelope Fee | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Supplemental Review Fee | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Detailed Study Cost | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Interconnection Facilities Not Subject to Cost of Ownership | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Distribution Upgrades | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
| ○ Transmission Upgrades | [7 empty] | Name: XX Title: XX Department: XX Email: XX Phone: XX
Note on B4: Sarah Bilbao: Add by interconnection processes otherwise the data may be impacted (Standard NEM vs larger NEM projects)