## Cover & References
Generation Portfolio Summary
Tri-State Generation & Transmission (TSGT)
2020
Primary data sources:
U.S. Energy Information Administration
https://www.eia.gov/electricity/data/eia860/
Form EIA-860 detailed data with previous form data (EIA-860A/860B) - 2018 (most recent)
https://www.eia.gov/electricity/data/eia860m/
EIA-860M as a supplement to Form EIA-860 (February 2020) Release date: April 24, 2020
The monthly survey Form EIA-860M, 'Monthly Update to Annual Electric Generator Report' supplements the annual survey form EIA-860 data with monthly information that monitors the current status of existing and proposed generating units at electric power plants with 1 megawatt or greater of combined nameplate capacity.
EIA estimates the current and near-term unit inventory of electric power generating capacity by integrating the information on these surveys along with ongoing EIA research of new units. However, creating this monthly estimate sometimes requires the use of data submitted on the annual EIA-860 before it has been fully verified by EIA. For this reason, reported capacities are EIA's preliminary estimates of capacity for that month. Estimates will be corrected without specific acknowledgement or explanation in subsequent month's inventory.
Supplemental information from the following sources:
https://www.tristategt.org/sites/tristate/files/PDF/Annual%20reports/TriState-AnnualReport-2018.pdf
https://www.tristategt.org/renewable-energy
https://www.tristategt.org/nucla-station-retires-service
https://www.tristategt.org/tri-state-announces-retirement-all-coal-generation-colorado-and-new-mexico
https://tristate.coop/sites/tristategt/files/PDF/Responsible-Energy-Plan/Tri-State-Responsible-Energy-Plan.pdf
Mancos Hydro Project
https://waterinfo.org/regional-water-projects/mancos-project-jackson-gulch-reservoir/

## Data & Notes
TSGT Generation Portfolio
Summary
| Existing Capacity (MW) | Wind % of Existing Capacity |  | Solar % of Existing Capacity
| 3169.56 | 11.74% |  | 2.798%
Planned Capacity (MW)
1019
Total Capacity (MW)
4188.56
Existing | Resource Name | Capacity (MW) | Fuel | Status | State | Notes
| Craig Station | 749 | Coal | Existing | CO | 24% Unit 1 & 2, 100% Unit 3: [Total = 1427.2 MW (TSGT Reports as 1285 MW = net capacity), Nameplate Units 1&2: 446.2 MW each, Unit 3: 534.8 MW.] [24% of Units 1&2 + 100% of unit 3 = 749 MW]
| Nucla Station | 0 | Coal | Existing | CO | RETIRED Sept 2019. No operation shown for 2020. [Units 1-3: 11.5 MW each, Unit 4: 79.3 MW; total = 113.9; TSGT reported as 100 MW facility]
| Burlington Station | 129.4 | Fuel Oil | Existing | CO | Two units, 64.7 MW each
| J.M. Shafer Generating Station | 272 | NG | Existing | CO
| Limon Generating Station | 154.2 | NG | Existing | CO | Two units, 77.1 MW each
| Frank R. Knutson Generating Station | 154.2 | NG | Existing | CO | Two units, 77.1 MW each (same as Limon Station)
| Rifle Generating Station | 84 | NG | Existing | CO | Three units, 15 MW each, one unit 39 MW
| Laramie River Station | 463.9 | Coal | Existing | WY | Three units, 570 MW each, total 1710 MW, 27.13% = 463.9 MW. TSGT has an undivided 27.13% interest in the jointly owned facility (2018 annual report), MBPP is the operator of Laramie River Generating Station.
| Escalante Generating Station | 257 | NG/Coal | Existing | NM | 257 MW, reported by TSGT as 253 MW. Scheduled for retirement by the end of 2020
| Pyramid Generating Station | 186 | NG | Existing | NM | Four units 46.5 MW each
| Springerville Generating Station | 233.6 | Coal | Existing | AZ | 51% Owner Unit 3 [Units 1&2: 424.8 MW; Units 3&4: 458.1 MW; 51% of unit 3 = 233.6 MW]
| Cimarron Solar | 30.6 | Solar | Existing | NM
| Kit Carson Windpower | 51 | Wind | Existing | CO
| Colorado Highlands Wind | 96.1 | Wind | Existing | CO | Phase 1: 71 MW, Phase 2: 25.1 MW; total = 96.1 MW [TSGT annual report 2018 lists 91 MW, Phase 3: 19.7MW = canceled/postponed (EIA Feb 2020)]
| Carousel Wind | 150 | Wind | Existing | CO
| San Isabel Solar | 30 | Solar | Existing | CO
| Alta Luna Solar | 28.1 | Solar | Existing | NM | Nameplate capacity 28.1 MW, TSGT shows as 25 MW
| Twin Buttes II Wind | 75 | Wind | Existing | CO
| Garland Canal Hydroelectric Project | 2.9 | Hydro | Existing | WY | [2018: Not listed as a TSGT resource] Unit 1: 3 MW, Unit 2: 0.5 MW
| Williams Fork Hydro Plant | 3.5 | Hydro | Existing | CO | [2018: Not listed as a TSGT resource]
| Boulder Canyon Hydroelectric Project | 5 | Hydro | Existing | CO | [2018: Not listed as a TSGT resource]
| Tri-County Water Hydropower Project | 8 | Hydro | Existing | CO | [2018: Not listed as a TSGT resource] Unit 1: 7.2 MW, Unit 2: 0.8 MW
| Mancos Hydro Project on Jackson Gulch Reservoir | 0.26 | Hydro | Existing | CO | [2018: Not listed as a TSGT resource] No operation shown for 2020, active only during irrigation season. (Facilities <1 MW are not recorded in EIA data)
| Vallecito Hydroelectric Project | 5.8 | Hydro | Existing | CO | [2018: Not listed as a TSGT resource] Unit 1: 0.8 MW, Unit 2: 2.5 MW, Unit 3: 2.5 MW; total = 5.8 MW
Planned
| Niyol Wind (2021) | 200 | Wind | Planned | CO
| Spanish Peaks II Solar (2023) | 40 | Solar | Planned | CO | Nameplate design capacity 100 MW, TSGT reports 40 MW contracted
| Coyote Gulch Solar (2023) | 120 | Solar | Planned | CO
| Dolores Canyon Soalr (2023) | 110 | Solar | Planned | CO
| Axial Basin Solar (2023) | 145 | Solar | Planned | CO
| Escalante Solar (2023) | 200 | Solar | Planned | NM | Escalante Solar 2020 operational Units 1-4: 80 MW each, TSGT reports 200 MW contracted
| Crossing Trails Wind (2020) | 104 | Wind | Planned | CO
| Spanish Peaks Solar (2022) | 100 | Solar | Planned | CO
Totals
| Total Existing Capacity | 3169.56
| Total New Planned Capacity | 1019
| Existing Renewables Capacity | 486.26
| Planned Renewable Capacity | 1019
| Total All Resources (new & planned) | 4188.56
| Total renewables (existing & plannned) | 1505.26 |  |  |  | TSGT claims planned additions will result in a total of over 2GW of renewable capacity by 2024
| Total wind (existing & plannned) | 676.1
| Total solar (existing & plannned) | 803.7
| Total hydro (existing & plannned) | 25.46
Note on C15: Sahm: Capacity = nameplate. Net summer and winter capacities will be slightly lower
Note on G16: Sahm: Craig Station will close by 2030. Tri-State announced that the 427-megawatt Unit 1 will close by the end of 2025. The 410-megawatt Unit 2 and the 448-megawatt Unit 3 will close by 2030. Tri-State operates Craig Station and owns 24% of Units 1 and 2. Tri-State owns 100% of Unit 3. Tri-State is working with the other plant owners to determine the specific details for the retirement of Unit 2. https://www.tristategt.org/tri-state-announces-retirement-all-coal-generation-colorado-and-new-mexico
Note on C55: Sahm: TSGT claims planned additions will result in a total of over 2GW of renewable capacity by 2024 https://www.tristategt.org/renewable-energy