## Sources
Tri-State Generation & Transmission (TSGT)
2018 Energy Production-Sales Summary
Data Sources:
Securities and Exchange Commission
Form 10-K Annual Report, Tri-state Generation & Transmission Association, Inc.
Published: 2019-03-08
https://sec.report/Document/0001558370-19-001696/
https://www.tristategt.org/sec-filings
U.S. Environmental Protection Agency
eGRID2018_Data_v2.xls, Unit, Generator, Plant, State, Balancing Authority Area, eGRID Subregion, NERC Region, U.S., and Grid Gross Loss (%) Data Files, March 9, 2020.
United States Environmental Protection Agency (EPA). 2020. “Emissions & Generation Resource Integrated Database (eGRID), 2018.” Washington, DC: Office of Atmospheric Programs, Clean Air Markets Division. Available from EPA’s eGRID web site: https://www.epa.gov/energy/egrid.
U.S. Energy Information Administration
https://www.eia.gov/electricity/data/eia860/
Form EIA-860 detailed data with previous form data (EIA-860A/860B) - 2018 (most recent)
Federal Energy Regulatory Commission
ftp://eqrdownload.ferc.gov/DownloadRepositoryProd/
eqrreportviewer.ferc.gov/
eqronline.ferc.gov
Tri-State Generation & Transmission
https://www.tristategt.org/sites/tristate/files/PDF/Annual%20reports/TriState-AnnualReport-2018.pdf
https://waterinfo.org/regional-water-projects/mancos-project-jackson-gulch-reservoir/
Fuel Name
BIT Bituminous Coal
LIG Lignite Coal
SUB Subbituminous Coal
ANT Anthracite Coal
RC Refined Coal
WC Waste Coal
PC Petroleum Coke
RFO Residual Fuel Oil
DFO Distillate Fuel Oil
NG Natural Gas
AB Agricultural By-products
MSW Municipal Solid Waste
OBS Other Biomass Solids
WDS Wood Waste Solids
OBL Other Biomass Liquids
SLW Sludge Waste
BLQ Black Liquor
WDL Wood Waste Liquids excluding Black Liquor
LFG Landfill Gas
OBG Other Biomass Gas
SUN Solar
WND Wind
GEO Geothermal
WAT Water Conventional Hydroelectric Turbine
WAT MWh Pumping Energy for Reversible (Pumped Storage) Hydroelectric Turbine
MWH Energy storage technologies
NUC Nuclear
PUR Purchased Steam
WH Waste heat not directly attributed to a fuel source

## Summary
Tri-State Generation & Transmission
2018 Electric Supply Portfolio
SUMMARY
Electric Supply (MWh) | Electric Sales (MWh)
12987147.6345 | 18500000
Source (MWh) | % of Total Sales
Coal
8718698 | 47.13%
NG
969745 | 5.242%
Fuel Oil
3674 | 0.01986%
Wind
1491850.6 | 8.064%
Solar
210837 | 1.14%
Hydro
55622.71 | 0.3007% |  |  |  |  | MWh Total | by State
Network Purchases | [5 empty] | 1393910 | AZ
1536720.3245 | 8.307% |  |  |  |  | 6341298 | CO
Member Generation Sales | [5 empty] | 50100 | MT
300000 | 1.622% |  |  |  |  | 904 | NE
Non-member Sales | [5 empty] | 2234969 | NM
1792312 | 9.688% |  |  |  |  | 34916 | UT
Other Energy Procurement | [5 empty] | 2954937.71 | WY
3397267.3655 | 18.36%
TSGT OWNED & CONTRACT FACILITIES | Capacity (MW) | Resource Name | 2018 EIA facility total (MWh) | 2018 FERC EQR total (MWh) | TSGT 2018 Share | Reconciled TSGT Purchases (MWh) | State | Notes
COAL | 749 | Craig Station | 7342832 |  | 42.7% | 3137380 | CO | Nameplate Units 1&2: 446.2 MW each, Unit 3: 534.8 MW.] [24% of Units 1&2 + 100% of unit 3 = 749 MW]
| 463.9 | Laramie River Station | 10689948 |  | 27.13% | 2900183 | WY | Three units, 570 MW each, total 1710 MW, 27.13% = 463.9 MW
| 233.6 | Springerville Generating Station | 9961840 |  | 13.38% | 1329671 | AZ | 100% lease holder of Unit 3, 48% subleased [Units 1&2: 424.8 MW; Units 3&4: 458.1 MW; 52% of unit 3 = 238.2 MW nameplate, 217.88 MW net]
| 100 | Nucla Station | 61553 |  | 100% | 61553 | CO | Units 1-3: 11.5 MW each, Unit 4: 79.3 MW; total = 113.9; TSGT reported as 100 MW net facility
| 257 | Escalante Generating Station | 1289911 |  | 100% | 1289911 | NM | 257 MW, reported by TSGT as 253 MW net. Scheduled for retirement by the end of 2020
SUBTOTAL | 1803.5 |  |  |  |  | 8718698
NG | 272 | J.M. Shafer Generating Station | 784004 |  | 100% | 784004 | CO | TGST utilizes 150 MW
| 70 | AltaGas Brush Energy Inc. |  | 34920 | 100% | 34920 | CO | 34,920 MWh confirmed for TSGT, which has a facility lease and gas tolling arrangement through December 31, 2019 with AltaGas Brush Energy Inc. to provide intermediate load generating capacity of 70 MW
| 154.2 | Limon Generating Station | 37685 |  | 100% | 37685 | CO | Two units, 77.1 MW each
| 154.2 | Frank R. Knutson Generating Station | 39351.89 |  | 100% | 39650 | CO | Two units, 77.1 MW each (same as Limon Station)
| 84 | Rifle Generating Station | 7156 |  | 100% | 7156 | CO | Three units, 15 MW each, one unit 39 MW
| 186 | Pyramid Generating Station | 66330 |  | 100% | 66330 | NM | Four units 46.5 MW each
SUBTOTAL | 920.4 |  |  |  |  | 969745
FUEL OIL | 129.4 | Burlington Station | 3674 |  | 100% | 3674 | CO | Two units, 64.7 MW each
SUBTOTAL | 129.4 |  |  |  |  | 3674
WIND | 51 | Kit Carson Windpower | 178574 | 178765.08 | 100% | 178574 | CO
| 96.1 | Colorado Highlands Wind | 368030 | 368029.6 | 100% | 368029.6 | CO | Phase 1: 71 MW, Phase 2: 25.1 MW; total = 96.1 MW net
| 150 | Carousel Wind | 654325 | 650843 | 100% | 654325 | CO
| 75 | Twin Buttes II Wind | 290922 | 295421.91 | 100% | 290922 | CO
SUBTOTAL | 372.1 |  |  |  |  | 1491850.6
SOLAR | 30.6 | Cimarron Solar | 63266 | 63285.7 | 100% | 63266 | NM
| 30 | San Isabel Solar | 75417 | 75420.9 | 100% | 75417 | CO
| 28.1 | Alta Luna Solar | 72154 | 72154.25 | 100% | 72154 | NM | Nameplate capacity 28.1 MW, TSGT shows as 25 MW net
SUBTOTAL | 88.7 |  |  |  |  | 210837
HYDRO | 2.9 | Garland Canal Hydroelectric Project | 9192.71 |  | 100% | 9192.71 | WY | [2018: Not listed as a TSGT resource] Unit 1: 3 MW, Unit 2: 0.5 MW
| 3.5 | Williams Fork Hydro Plant | 5202 |  | 100% | 5202 | CO | [2018: Not listed as a TSGT resource]
| 5 | Boulder Canyon Hydroelectric Project | 12281 |  | 100% | 12281 | CO | [2018: Not listed as a TSGT resource]
| 8 | Tri-County Water Hydropower Project | 10142 |  | 100% | 10142 | CO | [2018: Not listed as a TSGT resource] Unit 1: 7.2 MW, Unit 2: 0.8 MW
| 0.26 | Mancos Hydro Project | 0 |  | 100% | 0 | CO | [2018: Not listed as a TSGT resource] No operation shown for 2020, active only during irrigation season. (Facilities <1 MW are not recorded in EIA data)
| 5.8 | Vallecito Hydroelectric Project | 18805 |  | 100% | 18805 | CO | [2018: Not listed as a TSGT resource] Unit 1: 0.8 MW, Unit 2: 2.5 MW, Unit 3: 2.5 MW; total = 5.8 MW
SUBTOTAL | 25.46 |  |  |  |  | 55622.71
TOTAL | 3339.56 |  |  |  |  | 11450427.31
TSGT Non-member Sales
TOTAL | n/a | n/a |  | 1792312 | 100% |  | Various | Source from FERC EQR, TSGT 2018 sites 1.8M MWh as non-member sales
NETWORK PURCHASES | Number of transactions | Supplier |  | 2018 FERC EQR total (MWh) |  |  |  | Source: FERC EQR |  | Net transactions | (Removed 1st 2645 Q3 duplicate records from Q4)
Energy | [6 empty] | Various |  | Q1: | 5432
| 83 | Arizona Public Service Company |  | 2098 | 100% |  |  |  | Q2: | 6563
| 1912 | Basin Electric Power Cooperative |  | 279994 | 100% |  | (see sheet: |  | Q3: | 2596
| 76 | Black Hills Colorado Electric, Inc. |  | 434.6085 | 100% |  | Network Detail' |  | Q4: | 2922
| 115 | Black Hills Power, Inc. |  | 811.586 | 100% |  | for state data |  | Total: | 17513
| 1783 | Black Hills Wyoming, LLC |  | 10542 | 100% |  | delivery points)
| 26 | Black Hills/Colorado Electric Utility Company, LP |  | 181.13 | 100%
| 86 | EDF Trading North America, LLC |  | 40860 | 100%
| 40 | El Paso Electric Company |  | 5112 | 100%
| 269 | Morgan Stanley Capital Group Inc. |  | 35020 | 100%
| 33 | NorthWestern Corporation |  | 9240 | 100%
| 163 | PacifiCorp |  | 34683 | 100%
| 773 | Platte River Power Authority |  | 140255 | 100%
| 1 | Powerex Corp. |  | 25 | 100%
| 1296 | Public Service Company of Colorado |  | 75656 | 100%
| 7702 | Public Service Company of New Mexico |  | 729530 | 100%
| 613 | Salt River Project Agricultural Improvement and Power District |  | 51645 | 100%
| 2 | Shell Energy North America (US), L.P. |  | 145 | 100%
| 19 | TransAlta Energy Marketing (U.S.) Inc. |  | 912 | 100%
| 708 | Tucson Electric Power Company |  | 65149 | 100%
| 13 | UNS Electric, Inc. |  | 470 | 100%
| 1 | Westar Energy, Inc. |  | 125 | 100%
| 1656 | Western Area Power Administration |  | 53832 | 100%
SUBTOTAL | 17370 |  |  | 1536720.3245
Renewable PPAs
| 5 | Carousel Wind Farm, LLC |  | 650843 | 100% |  | CO
| 4 | Colorado Highlands Wind, LLC |  | 368029.6 | 100% |  | CO
| 18 | Kit Carson Windpower, LLC |  | 128756.98 | 100% |  | CO
| 6 | Kit Carson Windpower, LLC |  | 50008.1 | 100% |  | CO | Separately reportted as "Other" category
| 15 | San Isabel Solar LLC |  | 75420.9 | 100% |  | CO | Total reported as 97,451.3, but not supported by EIA or EPA data for TSGT
| 3 | Southern Turner Cimarron I, LLC |  | 15342.8 | 100% |  | NM
| 9 | SP Cimarron I, LLC |  | 47922.9 | 100% |  | NM
| 12 | TPE Alta Luna, LLC |  | 72154.25 | 100% |  | NM
| 16 | Twin Buttes Wind II LLC |  | 295421.9098 | 100% |  | CO
SUBTOTAL | 88 |  |  | 1703900.4398 |  |  |  | Included in 'TSGT Owned & Contract Facilities': Wind & Solar (Rows 46-54 above).
Tolling Energy
| 11 | AltaGas Brush Energy Inc. |  | 45167 | 100% |  | CO | 34,920 MWh confirmed for TSGT
SUBTOTAL | 11 |  |  | 45167 |  |  |  | Included in 'TSGT Owned & Contract Facilities': Natural Gas (Row 38 above).
Note on D7: Sahm: SEC 10-K filing shows 16,384,415 MWh sold. TSGT Annual Report indicates total sales of 18.5 M MWH, of which 16.4 were member sales, 1.8 non-member sales, and 0.3 member generation.
Note on I20: Sahm: see: 'Network Detail' sheet for additional state data subtotal info not shown on this page
Note on I22: Sahm: includes ~23,000MWh of San Isabel Solar production that may not have been delivered to TSGT
Note on C27: Sahm: Reflectis shortfall between identified sourcing and total reported sales reported to SEC
Note on C30: Sahm: See eGRID2018_Data sheet for details
Note on I31: Sahm: Total based on TSGT share of annual generation from each individual unit
Note on K31: Sahm: Craig Station will close by 2030. Tri-State announced that the 427-megawatt Unit 1 will close by the end of 2025. The 410-megawatt Unit 2 and the 448-megawatt Unit 3 will close by 2030. Tri-State operates Craig Station and owns 24% of Units 1 and 2. Tri-State owns 100% of Unit 3. Tri-State is working with the other plant owners to determine the specific details for the retirement of Unit 2. https://www.tristategt.org/tri-state-announces-retirement-all-coal-generation-colorado-and-new-mexico
Note on J66: Sahm: See: 'Network Detail' sheet for energy delivery point to TSGT grouped by transactions per state
SEC 10-K filing shows 16,384,415 MWh sold.
TSGT 2018 Annual Report indicates total sales of 18.5 M MWH, of which 16.4 were member sales, 1.8 non-member sales, and 0.3 member generation.
TSGT 2018 Annual Report indicates Generation Capacity of
1,884 MW (41%) Coal
973 MW Natural Gas (21%)
1,170 MW (25%) Renewables
603 MW (13%) Contracts
MWh actual production from these resources was not disclosed by TSGT.
The summary and data tables provided here attempt to identify sources and production for each category.
Known production from TSGT's owned or contracted facilities was 11,450,427 MWh
Additional Network Market purchases have been identified totaling 1,536,720 MWh
3,397,267 MWh (18%) of TSGT sales have not be identified

## eGRID2018_Data
Data Source: GEN18 (eGRID2018_Data_v2) | State | Plant name | DOE/EIA ORIS plant or facility code | Generator ID | Generator primary fuel | Generator nameplate capacity (MW) | Generator capacity factor | Generator annual net generation (MWh) | TSGT share | TSGT 2018 net generation (MWh) | Notes
| CO | Craig (CO) | 6021 | 1 | SUB | 446.4 | 0.679 | 2656155 | 24% | 637477.2
|  | Craig (CO) | 6021 | 2 | SUB | 446.4 | 0.736 | 2877335 | 24% | 690560.4
|  | Craig (CO) | 6021 | 3 | SUB | 534.8 | 0.386 | 1809342 | 100% | 1809342
|  |  |  | combined |  | 1427.6 |  | 7342832 |  | 3137379.6
| WY | Laramie River Station | 6204 | 1 | RC | 570 | 0.553 | 2762852 | 27.13% | 749561.7476
|  | Laramie River Station | 6204 | 2 | RC | 570 | 0.732 | 3657120 | 27.13% | 992176.656
|  | Laramie River Station | 6204 | 3 | RC | 570 | 0.855 | 4269976 | 27.13% | 1158444.4888
|  |  |  | combined |  | 1710 |  | 10689948 |  | 2900182.8924
| AZ | Springerville | 8223 | 1 | SUB | 424.8 | 0.676 | 2516814 | 0% | 0
|  | Springerville | 8223 | 2 | SUB | 424.8 | 0.716 | 2665984 | 0% | 0
|  | Springerville | 8223 | 3 | SUB | 458.1 | 0.637 | 2557060 | 52% | 1329671.2
|  | Springerville | 8223 | 4 | SUB | 458.1 | 0.548 | 2197970 | 0% | 0
|  | Springerville | 8223 | 5 | SUB | 400 | 0 | 0 | 0% | 0
|  |  |  | combined |  | 2165.8 |  | 9937828 |  | 1329671.2
|  | Springerville | 8223 | SGSS | SUN | 3.7 | 0.205 | 6630.179 | 100% | 6630.179
|  | Springerville | 8223 | SGSS1 | SUN | 1.4 | 0.205 | 2508.716 | 100% | 2508.716
|  | Springerville | 8223 | WMS | SUN | 8.3 | 0.205 | 14873.104 | 100% | 14873.104
|  |  |  | combined |  | 13.4 |  | 24011.999 |  | 24011.999
| CO | Nucla Station | 527 | 1 | BIT | 11.5 | 0.065 | 6526 | 100% | 6526
|  | Nucla Station | 527 | 2 | BIT | 11.5 | 0.06 | 6061 | 100% | 6061
|  | Nucla Station | 527 | 3 | BIT | 11.5 | 0.059 | 5990 | 100% | 5990
|  | Nucla Station | 527 | ST4 | BIT | 79.3 | 0.062 | 42976 | 100% | 42976
|  |  |  | combined |  | 113.8 |  | 61553 |  | 61553
| NM | Escalante | 87 |  | SUB | 257 | 0.573 | 1289911 | 100% | 1289911
| CO | JM Shafer Generating Station | 50707 | LMA | NG | 58.5 | 1.281 | 656277 | 100% | 656277
|  | JM Shafer Generating Station | 50707 | LMB | NG | 58.5 | 0 | 0 | NA | 0
|  | JM Shafer Generating Station | 50707 | LMC | NG | 58.5 | 0 | 0 | NA | 0
|  | JM Shafer Generating Station | 50707 | LMD | NG | 58.5 | 0 | 0 | NA | 0
|  | JM Shafer Generating Station | 50707 | LME | NG | 58.5 | 0 | 0 | NA | 0
|  | JM Shafer Generating Station | 50707 | STA | NG | 52.2 | 0.187 | 85413 | 100% | 85413
|  | JM Shafer Generating Station | 50707 | STB | NG | 52.2 | 0.093 | 42314 | 100% | 42314
[6 empty] | [net 272 MW reported] |  | 784004 |  | 784004
| CO | Brush Generation Facility | 10682 | GT1 | NG | 23.8 | 0.052 | 10914 | NA
|  | Brush Generation Facility | 10682 | GT2 | NG | 23.8 | 0.052 | 10940 | NA
|  | Brush Generation Facility | 10682 | GT3 | NG | 37 | 0.062 | 20156 | NA
|  | Brush Generation Facility | 10682 | GT4 | NG | 23.8 | 0.079 | 16535 | NA
|  | Brush Generation Facility | 10682 | GT5 | NG | 23.8 | 0.075 | 15635 | NA
|  | Brush Generation Facility | 10682 | ST1 | NG | 38 | 0.026 | 8579 | NA
|  | Brush Generation Facility | 10682 | ST2 | NG | 37 | 0.046 | 14792 | NA
|  | Brush Generation Facility | 10682 | ST4 | NG | 90 | 0.05 | 39040 | NA | 35800
[6 empty] | [net 70 MW reported] |  | 136591 |  | 35800
| CO | Limon Generating Station | 55504 | L1 | NG | 77.1 | 0.028 | 18842.5 | 100%
| CO | Limon Generating Station | 55504 | L2 | NG | 77.1 | 0.028 | 18842.5 | 100%
|  |  |  | combined |  | 154.2 |  | 37685 |  | 37685
| CO | Frank Knutson | 55505 | BR1 | NG | 77.1 | 0.029 | 19825 | 100%
| CO | Frank Knutson | 55505 | BR2 | NG | 77.1 | 0.029 | 19825 | 100%
|  |  |  | combined |  | 154.2 |  | 39650 |  | 39650
| CO | Rifle Generating Station | 10755 | GT2 | NG | 15 | 0.011 | 1438 | 100%
| CO | Rifle Generating Station | 10755 | GT3 | NG | 15 | 0.009 | 1201 | 100%
| CO | Rifle Generating Station | 10755 | GT4 | NG | 15 | 0.012 | 1586 | 100%
| CO | Rifle Generating Station | 10755 | ST1 | NG | 39 | 0.009 | 2931 | 100%
|  |  |  | combined |  | 84 |  | 7156 |  | 7156
| NM | Pyramid | 7975 | 1 | NG | 46.5 | 0.041 | 16582.5 | 100%
| NM | Pyramid | 7975 | 2 | NG | 46.5 | 0.041 | 16582.5 | 100%
| NM | Pyramid | 7975 | 3 | NG | 46.5 | 0.041 | 16582.5 | 100%
| NM | Pyramid | 7975 | 4 | NG | 46.5 | 0.041 | 16582.5 | 100%
|  |  |  | combined |  | 186 |  | 66330 |  | 66330
| CO | Burlington (CO) | 6619 | 1 | DFO | 64.7 | 0.003 | 1837 | 100%
| CO | Burlington (CO) | 6619 | 2 | DFO | 64.7 | 0.003 | 1837 | 100%
|  |  |  | combined |  | 129.4 |  | 3674 |  | 3674
| CO | Kit Carson Windpower | 57244 | KCW | WND | 51 | 0.4 | 178574 | 100% | 178574
| CO | Colorado Highlands Wind | 57174 | CHW1 | WND | 71 | 0.363 | 225648.791 | 100%
| CO | Colorado Highlands Wind | 57174 | CHW2 | WND | 25.1 | 0.363 | 79771.615 | 100%
| CO | Colorado Highlands Wind | 57174 | CHW3 | WND | 19.7 | 0.363 | 62609.594 | 100%
|  |  |  | combined |  | 115.8 |  | 368030 |  | 368030
| CO | Carousel Wind Farm LLC | 59975 | CW1 | WND | 150 | 0.498 | 654325 | 100% | 654325
| CO | Twin Buttes II Wind | 61040 | WT1 | WND | 75 | 0.443 | 290922 | 100% | 290922
| NM | Cimarron Solar Facility | 57243 | CIM1 | SUN | 30.6 | 0.236 | 63266 | 100% | 63266
| CO | San Isabel Solar, LLC | 60304 | SISPV | SUN | 30 | 0.287 | 75417 | 100% | 75417
| NM | Alta Luna | 60258 | ALPV1 | SUN | 28.1 | 0.293 | 72154 | 100% | 72154
| WY | Garland Canal Power Plant | 57551 | MAIN | WAT | 2.9 | 0.362 | 9193 | 100% | 9193
| CO | Williams Fork Hydro Plant | 10422 | GEN1 | WAT | 3 | 0.17 | 4458.857 | 100%
| CO | Williams Fork Hydro Plant | 10422 | GEN2 | WAT | 0.5 | 0.17 | 743.143 | 100%
|  |  |  | combined |  | 3.5 |  | 5202 |  | 5202
| CO | Boulder Canyon Hydro | 466 | 1A | WAT | 5 | 0.28 | 12281 | 100% | 12281
| CO | Boulder Canyon Hydro | 466 | 1 | WAT | 10 | 0 | 0
| CO | Boulder Canyon Hydro | 466 | 2 | WAT | 10 | 0 | 0
|  |  |  | combined |  | 25
| CO | Tri-County Water Hydropower Project | 58901 | TCWG1 | WAT | 7.2 | 0.145 | 9127.8 | 100%
| CO | Tri-County Water Hydropower Project | 58901 | TCWG2 | WAT | 0.8 | 0.145 | 1014.2 | 100%
|  |  |  | combined |  | 8 |  | 10142 |  | 10142
| CO | Mancos Hydro Project | - | - | WAT | 0.3 | - | -
| CO | Vallecito Hydroelectric | 50206 | GEN1 | WAT | 0.8 | 0.37 | 2593.793 | 100%
| CO | Vallecito Hydroelectric | 50206 | GEN2 | WAT | 2.5 | 0.37 | 8105.603 | 100%
| CO | Vallecito Hydroelectric | 50206 | GEN3 | WAT | 2.5 | 0.37 | 8105.603 | 100%
|  |  |  | combined |  | 5.8 |  | 18804.999 |  | 18804.999
[5 empty] | Total 2018 MWh from TSGT owned or contracted facilities |  |  |  |  | 11511119.6904
Note on K5: Sahm: Total based on TSGT share of annual generation from each individual unit
Note on K17: Sahm: assumes TSGT share of production is equal to it's 52% retained share of capacity
Note on K22: Sahm: reported production not fully verified as delivered to TSGT
TSGT has a gas tolling arrangement through December 31, 2019 with AltaGas Brush Energy Inc. to provide intermediate load generating capacity of 70 MWs. Under this tolling arrangement, TSGT is entitled to receive the energy output of the source facility at our call, and TSGT supplies the natural gas to operate the source facility. The source facility is a combined-cycle facility located near Brush, Colorado. TSGT does not anticipate renewing this [leased facility] gas tolling arrangement with AltaGas Brush Energy Inc.
35,800 MWh delivery confirmed, additional deliveries possible)
J.M. Shafer Generating Station is a 272 MW, natural gas fired, combined-cycle generating facility located near Fort Lupton, Colorado, which is primarily operated to provide intermediate load generating capacity. J.M. Shafer Generating Station is owned by TSGT's wholly‑owned subsidiary TCP. 122 MWs are sold to PSCO under a tolling agreement through June 2019 and TSGT utilizes the remaining 150 MWs of output.
Springerville Unit 3, located in east‑central Arizona, is a 419 MW unit that is part of a four-unit, 1,578 MW coal‑fired electric generating facility operated by TEP. Under contractual agreements, TGST, as the lessee of Springerville Unit 3, are taking 419 MWs of capacity from the unit and selling 100 MWs (24%) of such capacity to Salt River Project and 100 MWs (24%) of such capacity to PNM. TGST owns a 51 percent equity interest in Springerville Partnership, which owns Springerville Unit 3.
2018 MWh calculated based on share of capacity.

## Network detail
Network Power Purchases | Row Labels | Transaction count | Purchase price | 2018 FERC EQR MWh | State | AZ Network total MWh | CO Network total MWh | MT Network total MWh | NE Network total MWh | NM Network total MWh | UT Network total MWh | WY Network total MWh | Note
| BOOKED OUT POWER | 7 | 171 | 111 |  | 64239 | 2188845.9077 | 50100 | 903.586 | 878727.95 | 34916 | 45562 | FERC EQR data only includes network power purchases, TSGT owned generation listed separately
| Salt River Project Agricultural Improvement and Power District | 1 | 48 | 60 |  | 64239 | 2188846 | 50100 | 904 | 878728 | 34916 | 45562
| CRG | 1 | 48 | 60 | CO
| Tucson Electric Power Company | 6 | 123 | 51
| SPRINGERVILLE | 6 | 123 | 51 | AZ
| CAPACITY | 15 | 104550 | 1050
| AltaGas Brush Energy Inc. | 15 | 104550 | 1050
| Beaver Creek Substation | 15 | 104550 | 1050 | CO
| ENERGY | 17452 | 504431.8809 | 3212643.0643
| Arizona Public Service Company | 83 | 1953.08 | 2098
| Four Corners | 81 | 1203.08 | 2028 | NM
| PALO VERDE | 2 | 750 | 70 | AZ
| Basin Electric Power Cooperative | 1912 | 40924 | 279994
| AU | 1793 | 37893 | 274453 | CO
| DJ | 3 | 58 | 809 | WY
| SGW | 1 | 23 | 32 | NE
| STY | 115 | 2950 | 4700 | CO
| Black Hills Colorado Electric, Inc. | 76 | 4561.6 | 434.6085
| AU | 1 | 48 | 45 | CO
| MIDW | 7 | 344 | 260 | CO
| READER | 68 | 4169.6 | 129.6085 | CO
| Black Hills Power, Inc. | 115 | 15155.43 | 811.586
| AU | 11 | 225 | 290 | CO
| DJ | 3 | 81 | 80 | WY
| MIDW | 2 | 80 | 50 | CO
| SGW | 99 | 14769.43 | 391.586 | NE
| Black Hills Wyoming, LLC | 1783 | 27027 | 10542
| DJ | 1735 | 26179 | 10062 | WY
| SGW | 48 | 848 | 480 | NE
| Black Hills/Colorado Electric Utility Company, LP | 26 | 888.09 | 181.13
| MIDW | 2 | 58 | 125 | CO
| READER | 24 | 830.09 | 56.13 | CO
| Carousel Wind Farm, LLC | 5 | 141.67 | 650843
| Interconnection Provider's Burlington 230kV sub | 5 | 141.67 | 650843 | CO
| Colorado Highlands Wind, LLC | 4 | 118.92 | 368029.6
| Wildhorse Creek Switchyard | 4 | 118.92 | 368029.6 | CO
| EDF Trading North America, LLC | 86 | 1377.52 | 40860
| Yellowtail | 86 | 1377.52 | 40860 | MT
| El Paso Electric Company | 40 | 735.25 | 5112
| Four Corners | 13 | 261.22 | 2350 | NM
| San Juan | 3 | 54.71 | 145 | NM
| SPRINGERVILLE | 24 | 419.32 | 2617 | AZ
| Kit Carson Windpower, LLC | 18 | 1138.5 | 128756.98
| Kit Carson | 18 | 1138.5 | 128756.98 | CO
| Morgan Stanley Capital Group Inc. | 269 | 6347 | 35020
| Bonanza | 212 | 5037 | 25508 | UT
| Craig | 10 | 253 | 104 | CO
| MONA | 1 | 29.5 | 8 | UT
| Southwest Rangley | 46 | 1027.5 | 9400 | UT
| NorthWestern Corporation | 33 | 382 | 9240
| NWMT.REMLOAD | 33 | 382 | 9240 | MT
| PacifiCorp | 163 | 3676 | 34683
| DJ (PPW) POR/POD | 108 | 2065 | 27934 | WY
| DJ (TSGT) POR/POD | 41 | 1325 | 2664 | WY
| Four Corners | 12 | 222 | 4000 | NM
| FOURCORNE345 (AZPS) POR/POD | 2 | 64 | 85 | NM
| Platte River Power Authority | 773 | 16917 | 140255
| AU Bus | 320 | 6470.5 | 56936 | CO
| Craig Bus | 448 | 10351.5 | 83077 | CO
| PRPM Generation | 4 | 74 | 227 | CO
| WACM Generation | 1 | 21 | 15 | CO
| Powerex Corp. | 1 | 55 | 25
| DAVE JOHNSON | 1 | 55 | 25 | WY
| Public Service Company of Colorado | 1296 | 37869.108 | 75656
| AU | 73 | 3708 | 3784 | CO
| COMA | 1 | 72 | 50 | CO
| CRG | 1016 | 27792 | 63694 | CO
| DJ | 88 | 1744 | 3988 | WY
| MIDW | 15 | 801 | 965 | CO
| PSCO | 98 | 3402.108 | 2905 | CO
| STY | 5 | 350 | 270 | CO
| Public Service Company of New Mexico | 7702 | 269082.16 | 729530
| PALO VERDE | 3 | 47 | 70 | AZ
| San Juan | 7699 | 269035.16 | 729460 | NM
| Salt River Project Agricultural Improvement and Power District | 613 | 26731.36 | 51645
| CRG | 132 | 5601 | 5902 | CO
| PALO VERDE | 1 | 45 | 70 | AZ
| PINPKSRP | 73 | 3256 | 3585 | AZ
| SPRINGERVILLE | 407 | 17829.36 | 42088 | AZ
| San Isabel Solar LLC | 15 | 570 | 97451.3
| Interconnection w/ Ludlow-Pinon Canyon Line | 15 | 570 | 97451.3 | CO
| Shell Energy North America (US), L.P. | 2 | 12 | 145
| Four Corners | 2 | 12 | 145 | NM
| Southern Turner Cimarron I, LLC | 3 | 402 | 15342.8
| Highside of unit step-up transformer | 3 | 402 | 15342.8 | NM
| SP Cimarron I, LLC | 9 | 1206 | 47922.9
| Highside of unit step-up transformer | 9 | 1206 | 47922.9 | NM
| TPE Alta Luna, LLC | 12 | 473.94 | 72154.25
| Mimbres-Caballo 115kV substation | 12 | 473.94 | 72154.25 | NM
| TransAlta Energy Marketing (U.S.) Inc. | 19 | 521 | 912
| Four Corners | 17 | 486 | 837 | NM
| PALO VERDE | 2 | 35 | 75 | AZ
| Tucson Electric Power Company | 708 | 23521.6529 | 65149
| Four Corners | 2 | 34.96 | 50 | NM
| Luna | 7 | 149 | 325 | NM
| San Juan | 80 | 2846.0408 | 3513 | NM
| SPRINGERVILLE | 606 | 20160.6521 | 60756 | AZ
| WestWing | 13 | 331 | 505 | AZ
| Twin Buttes Wind II LLC | 16 | 433.6 | 295421.9098
| LAMR | 16 | 433.6 | 295421.9098 | CO
| UNS Electric, Inc. | 13 | 322 | 470
| PALO VERDE | 2 | 112 | 100 | AZ
| San Juan | 11 | 210 | 370 | NM
| Westar Energy, Inc. | 1 | 12 | 125
| AU | 1 | 12 | 125 | CO
| Western Area Power Administration | 1656 | 21877 | 53832
| AU | 1070 | 13818 | 32223 | CO
| CRG | 586 | 8059 | 21609 | CO
| OTHER | 17 | 27879.5 | 50071.1
| AltaGas Brush Energy Inc. | 11 | 27500 | 63
| Beaver Creek Substation | 11 | 27500 | 63 | CO
| Kit Carson Windpower, LLC | 6 | 379.5 | 50008.1
| Kit Carson | 6 | 379.5 | 50008.1 | CO
| SPINNING RESERVE | 11 | 163944 | 0.4206
| Western Area Power Administration | 11 | 163944 | 0.4206
| CRG | 8 | 103680 | 0.2794 | CO
| SJ345 | 3 | 60264 | 0.1412
| TOLLING ENERGY | 11 | 48.73 | 45167
| AltaGas Brush Energy Inc. | 11 | 48.73 | 45167
| Beaver Creek Substation | 11 | 48.73 | 45167 | CO
| Grand Total | 17513 | 801025.1109 | 3309042.5849

## Sheetx
PLNT18 TSGT
2098 | 2018 | CO | Burlington (CO) | 6619 | Public Service Co of Colorado | 15466 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Western Area Power Administration - Rocky Mountain Region | WACM | WECC | RMPA | WECC Rockies | 08 | 063 | Kit Carson | 39.3561 | -102.2431 | 2 | 2 | DFO | OIL |  | 0.00324 | 129.4 | 1 |  |  |  | 49350 | 19950 | 49350 | 19950 | 3674 | 1472 | 22.986 | 9.292 | 12.461 | 4030.062 | 326.395 | 65.279 | 4043.868 | 12.513 | 12.625 | 6.783 | 2193.828 | 0.089 | 0.018 | 2201.344 | 0.932 | 0.932 | 0.505 | 163.326 | 0.007 | 0.001 | 163.885 | 12.513 | 12.625 | 6.783 | 2193.828 | 0.089 | 0.018 | 22.986 | 9.292 | 12.461 | 4030.062 | 326.395 | 65.279 | 49350 | 19950 | 49350 | 19950 | EIA | EIA | EIA | EIA | EIA | EIA | -- | EIA | EIA | [8 empty] | 13432.2265 | 0 | 3674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3674 | 0 | 0 | 3674 | 0 | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 100% | 0%
2123 | 2018 | CO | Craig | 6021 | Tri-State G & T Assn, Inc | 30151 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Western Area Power Administration - Rocky Mountain Region | WACM | WECC | RMPA | WECC Rockies | 08 | 081 | Moffat | 40.4627 | -107.5912 | 3 | 3 | SUB | COAL | Yes | 0.58716 | 1427.6 | 0.35474 |  |  |  | 79641895 | 35116424 | 79641895 | 35116424 | 7342832 | 3239952 | 6677.11 | 2993.99 | 2181.36 | 8352839 | 1823123.62 | 265163.767 | 8415137.447 | 1.819 | 1.848 | 0.594 | 2275.1 | 0.248 | 0.036 | 2292.069 | 0.168 | 0.171 | 0.055 | 209.76 | 0.023 | 0.003 | 211.324 | 1.819 | 1.848 | 0.594 | 2275.1 | 0.248 | 0.036 | 6677.11 | 2993.99 | 2181.36 | 8352839 | 1823123.62 | 265163.767 | 79641895 | 35116424 | 79641895 | 35116424 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | -- | EPA/CAMD | EPA/CAMD | [8 empty] | 10846.2096 | 7324631.7 | 198.499 | 18001.775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7342831.974 | 0 | 0 | 7342831.974 | 0 | 99.75% | 0.002703% | 0.2452% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 100% | 0%
2144 | 2018 | CO | Frank Knutson Station | 55505 | Public Service Co of Colorado | 15466 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Public Service Company of Colorado | PSCO | WECC | RMPA | WECC Rockies | 08 | 001 | Adams | 39.9411 | -104.682 | 2 | 2 | NG | GAS |  | 0.02935 | 154.2 | 1 |  |  |  | 509328 | 291193 | 509328 | 291193 | 39650 | 18681 | 7.41 | 3.97 | 0.16 | 30339.2 | 1050.969 | 107.434 | 30368.345 | 0.374 | 0.425 | 0.008 | 1530.351 | 0.027 | 0.003 | 1531.821 | 0.029 | 0.027 | 0.001 | 119.134 | 0.002 | 0 | 119.249 | 0.374 | 0.425 | 0.008 | 1530.351 | 0.027 | 0.003 | 7.41 | 3.97 | 0.16 | 30339.2 | 1050.969 | 107.434 | 509328 | 291193 | 509328 | 291193 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | -- | EPA/CAMD | EPA/CAMD | [8 empty] | 12845.599 | 0 | 298.109 | 39351.891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39650 | 0 | 0 | 39650 | 0 | 0% | 0.7519% | 99.25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 100% | 0%
2166 | 2018 | CO | J M Shafer | 50707 | Public Service Co of Colorado | 15466 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Public Service Company of Colorado | PSCO | WECC | RMPA | WECC Rockies | 08 | 123 | Weld | 40.0986 | -104.7736 | 5 | 7 | NG | GAS |  | 0.22549 | 396.9 | 0.95751 | Yes | 0 | 1 | 6206485 | 2879461 | 6206485 | 2879461 | 784004 | 366991 | 273.44 | 126.6 | 1.87 | 368852.3 | 16067.559 | 1606.756 | 369292.551 | 0.698 | 0.69 | 0.005 | 940.945 | 0.02 | 0.002 | 942.068 | 0.088 | 0.088 | 0.001 | 118.86 | 0.003 | 0 | 119.002 | 0.698 | 0.69 | 0.005 | 940.945 | 0.02 | 0.002 | 273.44 | 126.6 | 1.87 | 368852.3 | 16067.559 | 1606.756 | 6206485 | 2879461 | 6206485 | 2879461 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | -- | EPA/CAMD | EPA/CAMD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7916.3946 | 0 | 0 | 784004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 784004 | 0 | 0 | 784004 | 0 | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 100% | 0%
2174 | 2018 | CO | Limon Generating Station | 55504 | Tri-State G & T Assn, Inc | 30151 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Western Area Power Administration - Rocky Mountain Region | WACM | WECC | RMPA | WECC Rockies | 08 | 073 | Lincoln | 39.2038 | -103.7005 | 2 | 2 | NG | GAS |  | 0.0279 | 154.2 | 1 |  |  |  | 478861 | 309949 | 478861 | 309949 | 37685 | 17683 | 7.18 | 4.38 | 0.19 | 28652.2 | 1074.477 | 115.933 | 28682.905 | 0.381 | 0.495 | 0.01 | 1520.616 | 0.029 | 0.003 | 1522.245 | 0.03 | 0.028 | 0.001 | 119.668 | 0.002 | 0 | 119.796 | 0.381 | 0.495 | 0.01 | 1520.616 | 0.029 | 0.003 | 7.18 | 4.38 | 0.19 | 28652.2 | 1074.477 | 115.933 | 478861 | 309949 | 478861 | 309949 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | -- | EPA/CAMD | EPA/CAMD | [8 empty] | 12706.9391 | 0 | 1046.856 | 36638.144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37685 | 0 | 0 | 37685 | 0 | 0% | 2.778% | 97.22% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 100% | 0%
2195 | 2018 | CO | Nucla | 527 | Tri-State G & T Assn, Inc | 30151 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Western Area Power Administration - Rocky Mountain Region | WACM | WECC | RMPA | WECC Rockies | 08 | 085 | Montrose | 38.2383 | -108.5069 | 1 | 4 | BIT | COAL | Yes | 0.06175 | 113.8 | 1 |  |  |  | 979719 | 978753 | 979719 | 978753 | 61553 | 61553 | 130.03 | 130.02 | 121.04 | 100187.6 | 20722.97 | 2995.646 | 100892.988 | 4.225 | 4.225 | 3.933 | 3255.328 | 0.337 | 0.049 | 3278.248 | 0.265 | 0.266 | 0.247 | 204.523 | 0.021 | 0.003 | 205.963 | 4.225 | 4.225 | 3.933 | 3255.328 | 0.337 | 0.049 | 130.03 | 130.02 | 121.04 | 100187.6 | 20722.97 | 2995.646 | 979719 | 978753 | 979719 | 978753 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | -- | EPA/CAMD | EPA/CAMD | [8 empty] | 15916.6734 | 61090.155 | 462.845 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61553 | 0 | 0 | 61553 | 0 | 99.25% | 0.7519% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 100% | 0%
2228 | 2018 | CO | Rifle Generating Station | 10755 | Public Service Co of Colorado | 15466 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Public Service Company of Colorado | PSCO | WECC | RMPA | WECC Rockies | 08 | 045 | Garfield | 39.5173 | -107.7299 | 6 | 4 | NG | GAS |  | 0.00972 | 84 | 1 |  |  |  | 60328.905 | 43169.275 | 60328.905 | 43169.275 | 7156 | 5125 | 10.003 | 7.158 | 0.096 | 3525.894 | 133.005 | 13.3 | 3529.538 | 2.796 | 2.793 | 0.027 | 985.437 | 0.019 | 0.002 | 986.456 | 0.332 | 0.332 | 0.003 | 116.889 | 0.002 | 0 | 117.01 | 2.796 | 2.793 | 0.027 | 985.437 | 0.019 | 0.002 | 10.003 | 7.158 | 0.096 | 3525.894 | 133.005 | 13.3 | 60328.905 | 43169.275 | 60328.905 | 43169.275 | EPA/CAMD; EIA | EPA/CAMD; EIA | EIA | EIA | EIA | EIA | -- | EIA | EIA | [8 empty] | 8430.5345 | 0 | 0 | 7156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7156 | 0 | 0 | 7156 | 0 | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 100% | 0%
7413 | 2018 | NM | Escalante | 87 | Tri-State G & T Assn, Inc | 30151 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Western Area Power Administration - Rocky Mountain Region | WACM | WECC | AZNM | WECC Southwest | 35 | 031 | McKinley | 35.4159 | -108.082 | 1 | 1 | SUB | COAL | Yes | 0.57296 | 257 | 0.3784 |  |  |  | 14006095 | 5497164 | 14006095 | 5497164 | 1289911 | 510225 | 2442.01 | 942.49 | 880.19 | 1468953.6 | 321305.266 | 46724.866 | 1479931.921 | 3.786 | 3.694 | 1.365 | 2277.605 | 0.249 | 0.036 | 2294.626 | 0.349 | 0.343 | 0.126 | 209.759 | 0.023 | 0.003 | 211.327 | 3.786 | 3.694 | 1.365 | 2277.605 | 0.249 | 0.036 | 2442.01 | 942.49 | 880.19 | 1468953.6 | 321305.266 | 46724.866 | 14006095 | 5497164 | 14006095 | 5497164 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | -- | EPA/CAMD | EPA/CAMD | [8 empty] | 10858.1868 | 1280010.9 | 0 | 9900.143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1289911.043 | 0 | 0 | 1289911.043 | 0 | 99.23% | 0% | 0.7675% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 100% | 0%
7457 | 2018 | NM | Pyramid Generating Station | 7975 | Public Service Co of NM | 15473 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Public Service Company of New Mexico | PNM | WECC | AZNM | WECC Southwest | 35 | 023 | Hidalgo | 32.2363 | -108.5494 | 4 | 4 | NG | GAS |  | 0.04071 | 186 | 1 |  |  |  | 685147 | 486541 | 685147 | 486541 | 66330 | 32484 | 43.31 | 28.55 | 0.32 | 40969.8 | 1574.622 | 167.173 | 41014.392 | 1.306 | 1.758 | 0.01 | 1235.332 | 0.024 | 0.003 | 1236.677 | 0.126 | 0.117 | 0.001 | 119.594 | 0.002 | 0 | 119.724 | 1.306 | 1.758 | 0.01 | 1235.332 | 0.024 | 0.003 | 43.31 | 28.55 | 0.32 | 40969.8 | 1574.622 | 167.173 | 685147 | 486541 | 685147 | 486541 | EPA/CAMD | EPA/CAMD | EPA/CAMD | EPA/CAMD | EIA | EIA | -- | EPA/CAMD | EPA/CAMD | [8 empty] | 10329.3683 | 0 | 1421.724 | 64908.276 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66330 | 0 | 0 | 66330 | 0 | 0% | 2.143% | 97.86% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 100% | 0%
7493 | 2018 | NM | TSGT Mobile Generator #15 | 57476 |  | 13777 | Tri-State G & T Assn, Inc | 30151 | Electric Utility | Public Service Company of New Mexico | PNM | WECC | AZNM | WECC Southwest | 35 | 039 | Rio Arriba | 36.934 | -106.9865 | 1 | 1 | DFO | OIL |  |  | 2 | [53 empty] | --