## Slide 1
Craig Lewis
Executive Director
Clean Coalition
650-796-2353 mobile
craig@clean-coalition.org
29 October 2020
Community Microgrids
Unparalleled trifecta of benefits

## Slide 2: Clean Coalition (nonprofit)
Mission
To accelerate the transition to renewable energy and a modern grid through
technical, policy, and project development expertise.
100% renewable energy end-game
  25% local, interconnected within the distribution grid and facilitating resilience without dependence on the transmission grid.
  75% remote, dependent on the transmission grid for serving loads.
Notes: 2

## Slide 3: Natural gas infrastructure is not resilient
Assertion: Gas-driven generation is often claimed to be resilient.
Reality: Gas infrastructure is not resilient and takes much longer to restore than electricity infrastructure.
Threats: Gas infrastructure can be flat-out dangerous and is highly vulnerable to earthquakes, fires, landslides, and terrorism.
Chart: Service Restoration Timeframes (M7.9 Earthquake)
| 1 day | 2 days | 3 days | 1 week | 2 weeks | 3 weeks | 1 month | 2 months | 3 months | 6 months
Gas | 0 | 0 | 0 | 0 | 2.5 | 5 | 10 | 30 | 65 | 100
Electricity | 5 | 25 | 60 | 95 | 97 | 98.5 | 100 | 100 | 100 | 100
Source: The City and County of San Francisco Lifelines Study
2010 San Bruno Pipeline Explosion

## Slide 4: Percentage of time online for Tier 1, 2, and 3 loads for a Solar Microgrid designed for the University of California Santa Barbara (UCSB) with enough solar to achieve net zero and enough energy storage capacity to hold 2 hours of the nameplate solar (200 kWh energy storage per 100 kW solar).
Chart: 
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
Column1
Percentage of total load
Percentage of time
Tier 3 = Discretionary load, ~75% of total load
Tier 1 = Critical, life-sustaining load, ~10% of total load
Tier 2 = Priority load, ~15% of total load
Typical load tier resilience from a Solar Microgrid

## Slide 5: A typical diesel generator is configured to maintain 25% of the normal load for two days. f diesel fuel cannot be resupplied within two days, goodbye. This is hardly a solution for increasingly necessary long-term resilience. In California, Solar Microgrids provide a vastly superior trifecta of economic, environmental, and resilience benefits.
Chart: 
| 0 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100
Column1
Percentage of total load
Percentage of time
Tier 3 = Discretionary load, ~75% of total load
Tier 1 = Critical, life-sustaining load, ~10% of total load
Tier 2 = Priority load, ~15% of total load
Diesel generators are designed for limited resilience

## Slide 6: Goleta Load Pocket (GLP) Community Microgrid
The GLP is the perfect opportunity for a comprehensive Community Microgrid
GLP spans 70 miles of California coastline, from Point Conception to Lake Casitas, encompassing the cities of Goleta, Santa Barbara (including Montecito), and Carpinteria.
GLP is highly transmission-vulnerable and disaster-prone (fire, landslide, earthquake).
200 megawatts (MW) of solar and 400 megawatt-hours (MWh) of energy storage will provide 100% protection to GLP against a complete transmission outage (“N-2 event”).
  200 MW of solar is equivalent to about 5 times the amount of solar currently deployed in the GLP and represents about 25% of the energy mix.
  Multi-GWs of solar siting opportunity exists on commercial-scale built environments like parking lots, parking structures, and rooftops; and 200 MW represents about 7% of the technical siting potential.
  Other resources like energy efficiency, demand response, and offshore wind can significantly reduce solar+storage requirements.

## Slide 7: Need to properly value local energy
Legend
16kV Gladiola Feeder
Substations
16kV Gaucho Feeder
16kV Professor Feeder
University of California Santa Barbara
Santa Barbara Airport
Tier 3 Fire Threat
220 kV Transmission
66 kV Feeder #4311
Fire Stations
Sanitary or Water Districts
Proposed 160-240 MWh Battery
Goleta Valley Cottage Hospital
Direct Relief
Fire Station # 17
Direct Relief
Vegas Substation
Isla Vista Substation
Proposed 160-240 MWh Battery
Fire Station # 8
Goleta Sanitary District
Deckers
UCSB
SB Airport

## Slide 8: Need to streamline Interconnection
Isla Vista Substation (66-to-16kV)
Fire Station #17
66kV underground interconnection
Vegas Substation (66-to-16kV)
UCSB
+ Solar
SBA (runway lights & ATC)
Direct Relief
+ Solar Microgrid
SBA (Main Terminal)
Goleta Sanitary District
Goleta Substation (220-to-66kV)
Diagram Elements
66 kV Distribution Feeder #4311
16 kV Gladiola Feeder
16 kV Gaucho Feeder
16 kV Professor Feeder
Planned 160-240 MWh Battery
Grid isolation switch (open, closed)
Smart meter switch (open, closed)
Fire Station #8
66kV distribution feeder #4311 with multiple branches
Deckers
+ Solar Microgrid
Tier 2 & 3 facilities
Tier 2 & 3 facilities
Tier 2 & 3 facilities
160+ MWh battery
Goleta Substation has eight feeders, all 66kV, that serve the entire GLP
Tier 2 & 3 facilities

## Slide 9: Need to implement Feed-In Tariffs (FITs)
Direct Relief Solar Microgrid needs a FIT to maximize solar